## Sheet1
FCU ID | Summer Fresh Air Temperature | Summer Fresh Air Relative Humidity | Winter Fresh Air Temperature | Winter Fresh Air Relative Humidity | Minimum Temperature of Cooling Coil | Cooling Coil Contact Factor | Supply Fan Temperature Rise | Altitude | LTHW Flow Temp | LTHW Return Temp | CHW Flow Temp | CHW Return Temp | CHW Glycol Concentration | CHW Glycol Type | Supply Air Flow Rate | Fresh Air Volume Flow Rate | Sensible Heat Gain | Latent Heat Gain | Room Summer Setpoint | Winter Sensible Heat Gain | Winter Latent Heat Gain | Room Winter Setpoint
FCU_001 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.6 | 0.2 | 6.7 | 4 | 23 | -2 | 4 | 20
FCU_002 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Propylene | 0.7 | 0.2 | 5 | 1 | 23 | -7 | 1 | 20
FCU_003 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.5 | 0.2 | 7 | 4 | 23 | -4 | 0 | 20
FCU_004 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 3 | 0 | 23 | -6 | 4 | 20
FCU_005 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 3 | 1 | 23 | -2 | 0 | 20
FCU_006 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 4 | 1 | 23 | -2 | 4 | 20
FCU_007 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 7.6 | 1 | 23 | -7 | 1 | 20
FCU_008 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 3 | 1 | 23 | -2 | 0 | 20
FCU_009 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.8 | 0.2 | 12 | 3 | 23 | -7 | 4 | 20
FCU_010 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 6.7 | 1 | 23 | -4 | 4 | 20
FCU_011 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 6.7 | 1 | 23 | -2 | 1 | 20
FCU_012 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 3 | 1 | 23 | -7 | 4 | 20
FCU_013 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 4 | 1 | 23 | -4 | 4 | 20
FCU_014 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 7.6 | 1 | 23 | -6 | 4 | 20
FCU_015 | 16 | 50 | 16 | 50 | 8.5 | 0.85 | 0.25 | 0 | 80 | 60 | 7 | 13 | 50 | Ethylene | 0.7 | 0.2 | 3 | 1 | 23 | -2 | 1 | 20